HAZEN-WILLIAMS PIPE FLOW

This is a simple spreadsheet template

to calculate pipe flow characteristics

according to the Hazen-Williams

equation. Enter a "C" value and two

other values and a zero or blank under

the variable to be calculated.

Calculated values include the velocity

as well as the desired unknown.

Common values of "C" are 150 for

plastic, 140 for concrete and cement-

lined iron, 100 for older rusty pipe.

Q is the flow rate in gallons/minute,

D is the actual internal pipe diameter

in inches, S is the friction loss in

feet per lineal foot of pipe, and V is

the average velocity in feet per second

Comments should be addressed to

Barry Rands 72306,2776.